4 Simple Steps to RE / BESS Grid Connection Application

- Fill in the Application Form for

  - Solar and Wind RES / BESS Generation Capacity ≤ 1MW

  - RES / BESS other than item 1a above

- To design your Renewable Energy System (RES) / BESS fits for grid connection, you will need to consider the following:

  - Technical Design Notes for Grid Connection of Small Renewable Energy/Battery

Energy Storage Systems

  - Grid Connection Requirement (Effective before 1st Sep 2026)

  - Grid Connection Standard of Renewable Energy Systems (Small Scale) (Effective from 2nd Mar 2026)

  - Grid Connection Standard of Battery Energy Storage System (Effective from 2nd Mar 2026)

  - Metering Arrangement

  - Samples for schematic drawings (in the appendix of EMSD’s guide)

- Before testing and commissioning of your RES / BESS, please send us the following information:

  - Operation Procedure for your RES / BESS

  - Testing and Commissioning Procedure for grid connection

We may witness the site testing of your RES / BESS and RE meter installation after customers have completed technical documents submission such as Operation procedure and T&C Form.

- If testing result is satisfactory, we will ask you to sign the Grid Connection Agreement (Applicable to item 1b only). Once completed, congratulations, your RES / BESS is connected to grid!

Remarks:

- There is no need to sign the Grid Connection Agreement for item 1a (Solar and Wind RES / BESS Generation Capacity ≤ 1MW)

- Termination Form